## Proposal Items Spreadsheet
1 | 103s05001 | BONDS AND INSURANCES, AS PER PLAN | 1 | LS
2 | 201E11000 | CLEARING AND GRUBBING | 1 | LS
3 | 202E20010 | HEADWALL REMOVED | 2 | EACH
4 | 202E23001 | PAVEMENT REMOVED, AS PER PLAN | 6850 | SY
5 | 202E30000 | WALK REMOVED | 557 | SF
6 | 202E32000 | CURB REMOVED | 485 | FT
7 | 202E35100 | PIPE REMOVED, 24 INCH AND UNDER | 328 | FT
8 | 202e35663 | UNDERGROUND ELECTRIC CONDUIT ABANDONED, AS PER PLAN | 1 | LS
9 | 202E58100 | CATCH BASIN REMOVED | 1 | EACH
10 | 202E75400 | LIGHT POLE REMOVED | 3 | EACH
11 | 202E75500 | LIGHT POLE FOUNDATION REMOVED | 3 | EACH
12 | 203E10000 | EXCAVATION | 3600 | CY
13 | 203E20000 | EMBANKMENT | 1140 | CY
14 | 203s80612 | SPECIAL - BIORETENTION CELL, AS PER PLAN | 2 | EACH
15 | 204E10000 | SUBGRADE COMPACTION | 4866 | SY
16 | 204e13130 | EXCAVATION OF SUBGRADE AND EMBANKMENT WITH GRANULAR MATERIAL, CCS, FABRIC, AS PER PLAN, CONTINGENCY, AS DIRECTED | 200 | CY
17 | 204E45000 | PROOF ROLLING | 16 | HOUR
18 | 207s98021 | TEMPORARY EROSION CONTROL, AS PER PLAN | 1 | LS
19 | 252E01500 | FULL DEPTH PAVEMENT SAWING | 840 | FT
20 | 301E46000 | ASPHALT CONCRETE BASE, PG64-22 | 64 | CY
21 | 304E20001 | AGGREGATE BASE, AS PER PLAN | 1150 | CY
22 | 407E10000 | TACK COAT | 58 | GAL
23 | 441E50001 | ASPHALT CONCRETE SURFACE COURSE, TYPE 1, (448), PG64-22, AS PER PLAN | 24 | CY
24 | 441E50300 | ASPHALT CONCRETE INTERMEDIATE COURSE, TYPE 2, (448) | 40 | CY
25 | 450s00010 | SPECIAL - CONCRETE SEALING SURFACE TREATMENT, SINAK, AS PER PLAN | 3882 | SY
26 | 451E14011 | 9" REINFORCED CONCRETE PAVEMENT, CLASS QC1, AS PER PLAN | 4008 | SY
27 | 601E28101 | DUMPED ROCK FILL, AS PER PLAN | 3.5 | CY
28 | 602e20301 | HEADWALL, AS PER PLAN | 1 | EACH
29 | 605E05111 | 4 INCH SHALLOW PIPE UNDERDRAIN WITH FABRIC WRAP, AS PER PLAN | 1497 | FT
30 | 607e98016 | FENCE MISC: TEMPORARY SAFETY FENCE - 6' CHAIN LINK | 240 | FT
31 | 608E13001 | 6 INCH CONCRETE WALK, AS PER PLAN | 3430 | SF
32 | 608e13301 | 6 INCH CONCRETE WALK, WITH INTEGRAL VEHICULAR CURB, AS PER PLAN | 456 | SF
33 | 608E52001 | CURB RAMP, AS PER PLAN | 524 | SF
34 | 609E14001 | CURB, TYPE 2-A, AS PER PLAN | 2022 | FT
35 | 609E26000 | CURB, TYPE 6 | 258 | FT
36 | 609E30001 | CURB, TYPE 8, AS PER PLAN | 121 | FT
37 | 611E00100 | 4" CONDUIT, TYPE B | 55 | FT
38 | 611E00406 | 4" CONDUIT, TYPE F | 120 | FT
39 | 611e00408 | 4" CONDUIT, TYPE F, PERFORATED | 43 | FT
40 | 611s01797 | STORM SEWER CLEAN OUT, AS PER PLAN | 1 | EACH
41 | 611e02611 | 8" SANITARY SEWER, AS PER PLAN | 270 | FT
42 | 611E04400 | 12" CONDUIT, TYPE B | 441 | FT
43 | 611E05900 | 15" CONDUIT, TYPE B | 124 | FT
44 | 611E07400 | 18" CONDUIT, TYPE B | 85 | FT
45 | 611E98450 | CATCH BASIN, NO. 2-2A | 3 | EACH
46 | 611E98470 | CATCH BASIN, NO. 2-2B | 2 | EACH
47 | 611e98624 | CATCH BASIN CURB INLET, AS PER PLAN | 4 | EACH
48 | 611e99318 | 18 INCH DRAIN BASIN, PRE-FABRICATED, ENGINEERED PVC DRAINAGE STRUCTURE, AS PER PLAN | 1 | EACH
49 | 611e99516 | TYPE "A" SANITARY MANHOLE, AS PER PLAN | 2 | EACH
50 | 611e99695 | MANHOLE, MISC.: CONNECTION TO EXISTING MANHOLE | 1 | EACH
51 | 614E11000 | MAINTAINING TRAFFIC | 1 | LS
52 | 622E40020 | PORTABLE CONCRETE BARRIER, 32 INCH | 36 | FT
53 | 623E10000 | CONSTRUCTION LAYOUT STAKES AND SURVEYING | 1 | LS
54 | 624E10000 | MOBILIZATION | 1 | LS
55 | 625e02880 | LIGHT POLE, AS PER PLAN | 10 | EACH
56 | 625E10600 | LIGHT POLE ANCHOR L-BOLTS | 40 | EACH
57 | 625e13945 | LIGHT POLE FOUNDATION, 18 INCH X 4' DEEP, AS PER PLAN | 6 | EACH
58 | 625e14254 | LIGHT POLE FOUNDATION, 30 INCH X 4' DEEP, WITH 3' BOLLARD, AS PER PLAN | 4 | EACH
59 | 625E23304 | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE | 624 | FT
60 | 625E23306 | NO. 10 AWG 600 VOLT DISTRIBUTION CABLE | 2458 | FT
61 | 625e23396 | NO. 6 AWG, BARE | 50 | FT
62 | 625E23410 | NO. 12 AWG POLE AND BRACKET CABLE | 302 | FT
63 | 625e25012 | CONDUIT, 3/4 INCH, 725.051 | 710 | FT
64 | 625e25104 | CONDUIT, 1 INCH,725.051 | 920 | FT
65 | 625E25304 | CONDUIT, 1-1/2 INCH, 725.051 | 320 | FT
66 | 625E25604 | CONDUIT, 4 INCH, 725.051 | 1010 | FT
67 | 625E25940 | CONDUIT, MISC.: PULL WIRE | 1950 | FT
68 | 625e27622 | LUMINAIRE AND BRACKET ARM, LED, TYPE 2 DISTRIBUTION, AS PER PLAN | 3 | EACH
69 | 625e27624 | LUMINAIRE AND BRACKET ARM, LED, TYPE 4 FORWARD THROW DISTRIBUTION, AS PER PLAN | 7 | EACH
70 | 625E29001 | TRENCH, AS PER PLAN | 2140 | FT
71 | 625e31441 | PULL BOX, AS PER PLAN | 1 | EACH
72 | 625e31610 | PULL BOX, MISC.: PULL BOX REMOVED AND REINSTALLED, AS PER PLAN | 1 | EACH
73 | 625E32000 | GROUND ROD | 10 | EACH
74 | 625e36007 | PLASTIC CAUTION TAPE, WITH METAL TRACER, AS PER PLAN | 2140 | FT
75 | 630e80150 | SIGN, FLAT SHEET, WITH MOUNTING POST | 12 | EACH
76 | 638e00010 | ABANDON EXISTING WATER MAIN, AS PER PLAN | 1 | LS
77 | 638E00100 | 4 INCH WATER MAIN DUCTILE IRON PIPE ANSI CLASS 52, PUSH-ON JOINTS AND PUSH-ON FITTINGS | 267 | FT
78 | 638E02400 | 12 INCH WATER MAIN DUCTILE IRON PIPE ANSI CLASS 52, PUSH-ON JOINTS AND PUSH-ON FITTINGS | 230 | FT
79 | 638E05101 | 2 INCH COPPER SERVICE BRANCH, AS PER PLAN | 60 | FT
80 | 638e05114 | 2 INCH CORP STOP AND TAP AND CURB STOP AND VALVE BOX, AS PER PLAN | 1 | EACH
81 | 638E09800 | 12 INCH X 12 INCH TAPPING SLEEVE, VALVE AND VALVE BOX | 2 | EACH
82 | 638e10205 | 6 INCH FIRE HYDRANT ASSEMBLY, INCLUDING 6 INCH VALVE AND VALVE BOX, AS PER PLAN | 1 | EACH
83 | 638e10795 | 4 INCH STAND PIPE CONNECTION WITH 5 INCH STORZ FITTING, AS PER PLAN | 1 | EACH
84 | 638e11222 | 1.5 INCH WATER METER SETTING WITH METER IDLER (YOKE) AND METER BOX, AS PER PLAN | 1 | EACH
85 | 642e00010 | TRAFFIC PAINT, AS PER PLAN | 1 | LS
86 | 659E10001 | SEEDING AND MULCHING, AS PER PLAN | 1665 | SY
87 | 661e13200 | ORNAMENTAL GRASS, AS PER PLAN | 42 | EACH
88 | 661E14001 | PERENNIALS, AS PER PLAN | 28 | EACH
89 | 661E20020 | DECIDUOUS SHRUB, 18 INCH HEIGHT | 27 | EACH
90 | 661E20040 | DECIDUOUS SHRUB, 2' HEIGHT | 16 | EACH
91 | 661e40025 | DECIDUOUS TREE, 8' HEIGHT, AS PER PLAN | 3 | EACH
92 | 661E40100 | DECIDUOUS TREE, 2-1/2 INCH CALIPER | 7 | EACH
93 | 661E50121 | EVERGREEN TREE, 6' HEIGHT, AS PER PLAN | 3 | EACH
94 | 680e43101 | COMPLETE IRRIGATION SYSTEM | 1 | LS
95 | 999s99996 | _______________________________________ UTILITY COMPANY CHARGES ALLOWANCE | 1 | LS
96 | 999s99998 | CONTINGENCY/DISCRETIONARY ALLOWANCE | 1 | LS